## Sheet1
Pos. | Description | Qty | Description | Point | PCS | SUPPLY COST | TOTAL
1 | TRANSFORMER IMEFY 630KVA 20/0.4 EU548/2014, E3/C2/F1 | 2 | TRANSFORMER |  | 2
2 | 3-COMPARTMENT FIREPROOF KIOSK (8.5m length) 2*630KVA, walk in LV (includes installation materials, cables, earthing, lighting, fans for the Medium Voltage panel, general low-voltage panel and 2* transformers) | 1 | KIOSK |  | 1
3 | MEDIUM-VOLTAGE PANEL (Input with load switch, capacitive distributors and lightning rods. Two Departures with fuse switch with fuses and capacitive distributors) | 1 | MEDIUM-VOLTAGE PANEL |  | 1