## bom
Id | PCS | Product Code | Description | Quantity |  | PCS | SUPPLY COST | TOTAL
LINES |  | 1SDA101401R1 | XT7S M 1600 Ekip Hi-Touch LSIG 1600 3pFF | 1 | Input from the general low-voltage panel
|  | 1SDA073674R1 | YO E1.2..E6.2-XT7-XT7M 220-240 VAC/DC |  | Working coil
|  | 1SDA073687R1 | YC E1.2..E6.2-XT7M 220-240 VAC/DC |  | Coupling coil
|  | 1SDA104922R1 | M XT7M 220-250 V AC/DC |  | Remote control motor
|  | 1SDA073752R1 | AUX 2Q 400VAC + 2Q 24VDC E1.2-XT7-XT7M |  | Auxiliary contacts
|  | 1SDA073854R1 | PBC Prot. Pushbuttons AP/CH E1.2-XT7M |  | Switch opening / closing protective cover
|  | 1SDA074172R1 | EKIP SUPPLY 110-240VAC/DC E1.2..E6.2-XT |  | Power supply Module switch
|  | 1SDA105167R1 | EKIP COM MODBUS TCP Tmax XT |  | Communication module
|  | 1SDA107495R1 | KLC-S Key lock open N.20005 XT7M |  | Switch Lock
1,4,6,7 |  | 1SDA068163R1 | XT2N 160 BREAKING PART 3p F F | 4 | Departures and parts
|  | 1SDA100110R1 | Ekip Touch Measuring LSI In=100A XT2 3p |  | Protection/ measurement unit
|  | 1SDA105177R1 | EKIP COM MODBUS TCP XT2-XT4 INT |  | Communication module
2,3,5 |  | 1SDA067070R1 | XT2N 160 Ekip LSI In=100A 3p F F | 3 | 100Α Departures
|  | 1SDA066446R1 | AUX-C 1Q+1SY 24Vdc XT1..XT6 F/P |  | ON-OFF and error indication auxiliary contact
9, 10, 11,12, 13, 14 |  | 1SDA067071R1 | XT2N 160 Ekip LSI In=160A 3p F F | 6
|  | 1SDA066446R1 | AUX-C 1Q+1SY 24Vdc XT1..XT6 F/P |  | ON-OFF and error indication auxiliary contact
8 |  | 1SDA068163R1 | XT2N 160 BREAKING PART 3p F F | 1 | Departures and parts
|  | 1SDA100111R1 | Ekip Touch Measuring LSI In=160A XT2 3p |  | Protection/ measurement unit
|  | 1SDA105177R1 | EKIP COM MODBUS TCP XT2-XT4 INT |  | Communication module
15 |  | 1SDA100362R1 | XT5N 400 Ekip Dip LSIG In=400 3p F F | 1 | Departures and parts
|  | 1SDA066446R1 | AUX-C 1Q+1SY 24Vdc XT1..XT6 F/P |  | Auxiliary contact
|  | 2CDS251001R0164 | S201-C16 | 1
|  | 1SDA116751R1 | ABB Ability™ Edge Industrial Gateway | 1
|  | 1SDA082485R1 | EKIP SIGNALLING MODBUS TCP | 3