## Φύλλο1
PROJECT: Replacement of the existing substation 1B and Installation of a new outdoor Kiosk-type 2x630 KVA substation
STUDY BUDGET
S/N | DESCRIPTION OF WORKS | UNIT | QUANTITY | UNIT PRICE | EXPENSE
[5 empty] | PARTIAL | TOTAL
GROUP Α CABLE ROUTING
Α.Τ.1.1.1 | Medium Voltage Shaft without cover 1.00 x 1.00 x 1.30 m | pcs | 1
Α.Τ.1.1.2 | Low Voltage Shaft without cover 0.40 x 0.40 x 0.50 m | pcs | 1
Α.Τ.1.1.3 | Low Voltage Shaft without cover 0.80 x 0.80 x 0.60 m | pcs | 2
Α.Τ.1.2.1 | Shaft cover 1.00 x 1.00m | pcs | 1
Α.Τ.1.2.2 | Shaft cover 0.40 x 0.40m | pcs | 1
Α.Τ.1.2.3 | Shaft cover 0.80 x 0.80m | pcs | 1
Α.Τ.1.3.1 | PVC pipe 10atm Ø 63 mm | m | 100
Α.Τ.1.4.1 | GEONFLEX N750-type structured wall pipe with color marking Ø 50 mm | m | 30
Α.Τ.1.4.2 | GEONFLEX N750-type structured wall pipe with color marking Ø 100 mm | m | 20
Α.Τ.1.4.3 | GEONFLEX N750-type structured wall pipe with color marking Ø 250 mm | m | 160
Α.Τ.1.5. | Medium Voltage and Low Voltage cable underground routing pit | m | 26
EXPENSE OF GROUP Α
GROUP B CABLES
Α.Τ.1.6 | Medium Voltage Cable N2XSY 1x50 mm² | m | 115
Α.Τ.1.7.1 | NYY cable 1x1.5 mm² | m | 20
Α.Τ.1.7.2 | NYY cable 1x2.5 mm² | m | 30
Α.Τ.1.7.3 | NYY cable 1x4 mm² | m | 20
Α.Τ.1.7.4 | NYY cable 1x16 mm² | m | 20
Α.Τ.1.7.5 | NYY cable 1x240 mm² | m | 160
Α.Τ.1.7.6 | NYY cable 3Χ35+16mm² | m | 10
Α.Τ.1.7.7 | NYY cable 3Χ50+25mm² | m | 10
Α.Τ.1.8.1 | NYM cable 3x1.5 mm² | m | 15
Α.Τ.1.8.2 | NYM cable 3x2.5 mm² | m | 15
Α.Τ.1.8.3 | NYM cable 3x4 mm² | m | 15
EXPENSE OF GROUP B
GROUP C: ELECTRICAL PANELS
Α.Τ.1.9.1 | General Low-Voltage Point Panel of Substation 1B | pcs | 1
Α.Τ.1.9.2 | General Low-Voltage Panel (PILLAR) in the outdoor area of substation 1B | pcs | 1
Α.Τ.1.10 | Medium-Voltage Panel of Substation 1B | pcs | 1
EXPENSE OF GROUP C
GROUP D: TRANSFORMERS
Α.Τ.1.11 | Dry Type Transformer 630kVA | pcs | 2
EXPENSE OF GROUP D
GROUP E: EARTHING COMPONENTS
Α.Τ.1.16 | Copper conductor 70mm2 | m | 20
Α.Τ.1.17 | Copper conductor 120mm2 | m | 55
Α.Τ.1.18 | 30mm x 3.5mm steel earthing strip in concrete of the new substation1 B | m | 30
Α.Τ.1.19 | Cu earthing busbar outside the new substation 1B | pcs | 1
Α.Τ.1.20 | Cu earthing bar outside the new substation 1B | pcs | 6
EXPENSE OF GROUP E
GROUP F: S/S BASE-COVER
Α.Τ.3.1 | Construction of concrete substation base | in proportion | 1
Α.Τ.3.2 | Cover-Kiosk of S/S 1B | pcs | 1
EXPENSE OF GROUP F
GROUP G: WEAK CURRENTS
Α.Τ.2.1 | Infrastructure with work and materials for Pillar interconnection with the new substation | in proportion | 1
EXPENSE OF GROUP G
GROUP H: ADDITIONAL WORKS
Α.Τ.1.15 | Preparation of the Licensed Electrician Certification for the entire installation and submission of the file for the increase of power to HEDNO | in proportion | 1
Α.Τ.4.1 | Moving an existing fire-extinguisher cabinet in the open space of S/S 1B | in proportion | 1
Α.Τ.4.2 | Uninterruptible power supply system UPS 1.5 KVA | pcs | 1
EXPENSE OF GROUP H
SUM OF WORK EXPENSES
GENERAL EXPENSES & CONTRACTOR FEE 18%
PROJECT EXPENSE
UNFORESEEN 15%
TOTAL PROJECT EXPENDITURE EXCLUDING VAT
24% VAT
TOTAL PROJECT EXPENDITURE